## X-cSi-plants-large
[5 empty] | IndexNumber | [5 empty] | 174-024 |  |  |  | 174-024a |  |  |  | 174-024b |  |  |  | 174-024c |  |  |  | 174-026 |  |  |  | 174-026a |  |  |  | 174-025 |  |  |  | 174-025a |  |  |  | 174-027 |  |  |  | 174-047 |  |  |  | 174-028 |  |  |  | 174-029 |  |  |  | 174-030 |  |  |  | 174-031
|  | ID | 3503 | 3504 | 3702 | 3703 | 3506 | 3507 | 3508 | 3706 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792
Index |  | 401 | InputGroup | OutputGroup | Name | Location | Category | SubCategory | InfrastructureProcess | Unit | 93 kWp slanted-roof installation, single-Si, laminated, integrated, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 93 kWp slanted-roof installation, multi-Si, laminated, integrated, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 93 kWp slanted-roof installation, single-Si, panel, mounted, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 93 kWp slanted-roof installation, multi-Si, panel, mounted, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 280 kWp flat-roof installation, single-Si, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 280 kWp flat-roof installation, multi-Si, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 156 kWp flat-roof installation, multi-Si, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 156 kWp flat-roof installation, single-Si, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 1.3 MWp slanted-roof installation, multi-Si, panel, mounted, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 560 kWp open ground installation, single-Si, on open ground | UncertaintyType | StandardDeviation95% | GeneralComment | 324 kWp flat-roof installation, multi-Si, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 450 kWp flat-roof installation, single-Si, on roof | UncertaintyType | StandardDeviation95% | GeneralComment | 569 kWp open ground installation, multi-Si, on open ground | UncertaintyType | StandardDeviation95% | GeneralComment | 570 kWp open ground installation, multi-Si, on open ground | UncertaintyType | StandardDeviation95% | GeneralComment | average weight | electricity /3kWp | 3kWp slanted-roof installation, single-Si, laminated, integrated, on roof | Remarks, Literature | Reliability | Completeness | Temporal Corr. | Geographical Corr. | Technological Corr. | Sample Size | Code | Basic SDG^2 | Pedigree | Total | Uncertainty Code Pedigree | Reliability | Completeness | Temporal Corr. | Geographical Corr. | Technological Corr. | Sample Size
|  | 662 |  |  | Location | [5 empty] | CH |  |  |  | CH |  |  |  | CH |  |  |  | CH |  |  |  | CH |  |  |  | CH |  |  |  | CH |  |  |  | CH |  |  |  | CH |  |  |  | CH |  |  |  | DE |  |  |  | DE |  |  |  | ES |  |  |  | ES | [5 empty] | CH |  | nA: not applicable: CV=1 | [7 empty] | SDG^2 | SDG^2
|  | 493 |  |  | InfrastructureProcess | [5 empty] | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 | [5 empty] | 1
|  | 403 |  |  | Unit | [5 empty] | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit |  |  |  | kg | kWh | unit
174-024 | products |  | - | 0 | 93 kWp slanted-roof installation, single-Si, laminated, integrated, on roof | CH | - | - | 1 | unit | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-024a |  |  | - | 0 | 93 kWp slanted-roof installation, multi-Si, laminated, integrated, on roof | CH | - | - | 1 | unit | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-024b |  |  | - | 0 | 93 kWp slanted-roof installation, single-Si, panel, mounted, on roof | CH | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-024c |  |  | - | 0 | 93 kWp slanted-roof installation, multi-Si, panel, mounted, on roof | CH | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-026 |  |  | - | 0 | 280 kWp flat-roof installation, single-Si, on roof | CH | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-026a |  |  | - | 0 | 280 kWp flat-roof installation, multi-Si, on roof | CH | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-025 |  |  | - | 0 | 156 kWp flat-roof installation, multi-Si, on roof | CH | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-025a |  |  | - | 0 | 156 kWp flat-roof installation, single-Si, on roof | CH | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-027 |  |  | - | 0 | 1.3 MWp slanted-roof installation, multi-Si, panel, mounted, on roof | CH | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-047 |  |  | - | 0 | 560 kWp open ground installation, single-Si, on open ground | CH | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-028 |  |  | - | 0 | 324 kWp flat-roof installation, multi-Si, on roof | DE | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-029 |  |  | - | 0 | 450 kWp flat-roof installation, single-Si, on roof | DE | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0
174-030 |  |  | - | 0 | 569 kWp open ground installation, multi-Si, on open ground | ES | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0
174-031 |  |  | - | 0 | 570 kWp open ground installation, multi-Si, on open ground | ES | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1
2291 | technosphere |  | 5 | - | electricity, low voltage, at grid | CH | - | - | 0 | kWh | 7.13 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 7.13 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 7.13 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 7.13 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 21.4667 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 21.4667 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 11.9416 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 11.9416 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 103.1933 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 42.9333 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity |  |  | 0.23 | scaled from a 3kWp plant over capacity | 3 | 4 | 3 | 1 | 1 | 5 | 2 | 1.05 | 2.0517 | 2.0551 | (3,4,3,1,1,5) | 1.2 | 1.05 | 1 | 1 | 2 | 1.02
2300 |  |  | 5 | - | electricity, low voltage, at grid | DE | - | - | 0 | kWh | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 24.84 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 34.5 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity |  |  | 0.23 | scaled from a 3kWp plant over capacity | 3 | 4 | 3 | 1 | 1 | 5 | 2 | 1.05 | 2.0517 | 2.0551 | (3,4,3,1,1,5) | 1.2 | 1.05 | 1 | 1 | 2 | 1.02
2292 |  |  | 5 | - | electricity, low voltage, at grid | ES | - | - | 0 | kWh | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | - | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 43.6233 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity | 36.0333 | 1 | 2.7695 | (3,4,3,1,1,5); scaled from a 3kWp plant over capacity |  |  | 0.23 | scaled from a 3kWp plant over capacity | 3 | 4 | 3 | 1 | 1 | 5 | 2 | 1.05 | 2.0517 | 2.0551 | (3,4,3,1,1,5) | 1.2 | 1.05 | 1 | 1 | 2 | 1.02
544-142 |  |  | 5 | - | diesel, burned in building machine, average | CH | - | - | 0 | MJ | - | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | - | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | - | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | - | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | - | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | - | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | - | 1 | 4.1931 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | - | 1 | 4.1931 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | - | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | 1963.7 | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | - | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | - | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | 7659.6154 | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader | 7673.0769 | 1 | 3.4677 | (3,4,1,1,1,5); Leit-Ramm; Energy use for foundation piling and wheel loader |  |  | 0 | Leit-Ramm; Energy use for foundation piling and wheel loader | 3 | 4 | 1 | 1 | 1 | 5 | 5 | 2 | 2.095 | 2.7555 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1.2
32112 |  |  | 5 | - | inverter, 500kW, at plant | RER | - | - | 1 | unit | 0.14911 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 0.14911 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 0.14911 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 0.14911 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 1.6182 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 1.6182 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 1.0498 | 1 | 6.3921 | (2,4,1,1,1,5); 1 replacement in the life time | 1.0498 | 1 | 6.3921 | (2,4,1,1,1,5); 1 replacement in the life time | 4.4132 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 1.7385 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 2.3638 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 3.126 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 3.126 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 2991 |  |  | 1 replacement in the life time | 2 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (2,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-050 |  |  | 5 | - | inverter, Mont Soleil installation, at plant | CH | - | - | 1 | unit | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 6.3921 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 6.3921 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 2 | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | - | 1 | 4.466 | (2,4,1,1,1,5); 1 replacement in the life time | 19011 |  |  | 1 replacement in the life time | 2 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (2,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-016 |  |  | 5 | - | electric installation, 93 kWp photovoltaic plant, at plant | CH | - | - | 1 | unit | 1 | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 217.9809 |  |  |  | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-018 |  |  | 5 | - | electric installation, 280 kWp photovoltaic plant, at plant | CH | - | - | 1 | unit | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 715.8786 |  |  |  | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-017 |  |  | 5 | - | electric installation, 156 kWp photovoltaic plant, at plant | CH | - | - | 1 | unit | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 6.3921 | (3,4,1,1,1,5); | 1 | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 643.5204 |  |  |  | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-019 |  |  | 5 | - | electric installation, 1.3 MWp photovoltaic plant, at plant | CH | - | - | 1 | unit | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 8231.3019 |  |  |  | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-046 |  |  | 5 | - | electric installation, 560 kWp photovoltaic plant, at plant | CH | - | - | 1 | unit | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 72142.86 |  |  |  | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-020 |  |  | 5 | - | electric installation, 324 kWp photovoltaic plant, at plant | DE | - | - | 1 | unit | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 904.2669 |  |  |  | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-021 |  |  | 5 | - | electric installation, 450 kWp photovoltaic plant, at plant | DE | - | - | 1 | unit | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 914.5608 |  |  |  | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-022 |  |  | 5 | - | electric installation, 570 kWp photovoltaic plant, at plant | ES | - | - | 1 | unit | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 6.3921 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | - | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | 1 | 1 | 4.466 | (3,4,1,1,1,5); | 1567.3106 |  |  |  | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
1646 |  |  | 5 | - | slanted-roof construction, integrated, on roof | RER | - | - | 1 | m2 | 476.9231 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 516.6667 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 3.8595 |  | 17.1429 | calculation with maximum power output and module efficiency | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
1645 |  |  | 5 | - | slanted-roof construction, mounted, on roof | RER | - | - | 1 | m2 | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 476.9231 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 516.6667 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 4.4771 |  |  | calculation with maximum power output and module efficiency | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
1491 |  |  | 5 | - | flat roof construction, on roof | RER | - | - | 1 | m2 | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 1435.8974 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 1555.5556 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 866.6667 | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 800 | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 1800 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 2307.6923 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 4.7347 |  |  | calculation with maximum power output and module efficiency | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-015 |  |  | 5 | - | open ground construction, on ground | RER | - | - | 1 | m2 | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 3161.1111 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 3166.6667 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 11.53 |  |  | calculation with maximum power output and module efficiency | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-049 |  |  | 5 | - | open ground construction, on ground, Mont Soleil | CH | - | - | 1 | m2 | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 2871.7949 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 443.8566 |  |  | calculation with maximum power output and module efficiency | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-051 |  |  | 5 | - | slanted-roof construction, mounted, on roof, Stade de Suisse | CH | - | - | 1 | m2 | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 7222.2222 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency | 2.5017 |  |  | calculation with maximum power output and module efficiency | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
407-116 |  |  | 5 | - | photovoltaic laminate, single-Si, at regional storage | RER | - | - | 1 | m2 | 491.2308 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 2957.9487 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 11.0257 |  | 17.6571 | calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
407-115 |  |  | 5 | - | photovoltaic laminate, multi-Si, at regional storage | RER | - | - | 1 | m2 | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 532.1667 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 11.0699 |  |  | calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
407-118 |  |  | 5 | - | photovoltaic panel, single-Si, at regional storage | RER | - | - | 1 | m2 | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 491.2308 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 1478.9744 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 824 | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 2376.9231 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 13.1507 |  |  | calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
407-117 |  |  | 5 | - | photovoltaic panel, multi-Si, at regional storage | RER | - | - | 1 | m2 | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 532.1667 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 1602.2222 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 892.6667 | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 6.3921 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 7438.8889 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 1854 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | - | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 3255.9444 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 3261.6667 | 1 | 4.466 | (3,4,1,1,1,5); calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 13.1949 |  |  | calculation with maximum power output and module efficiency; 2% of modules replaced in the life time, 1% rejects | 3 | 4 | 1 | 1 | 1 | 5 | 9 | 3 | 2.0477 | 3.7126 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
174-002-005 |  |  | 5 | - | treatment, c-Si PV module | RER | - | - | 0 | kg | 5416.1619 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 5891.0158 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 6460.0273 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 7021.87 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 19449.5445 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 21141.1139 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 11778.6206 | 1 | 2.762 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 10836.1748 | 1 | 2.762 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 98155.1716 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 32613.4481 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 24463.2889 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 31258.1966 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 42961.7636 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life | 43037.2675 | 1 | 2.7657 | (3,4,1,1,1,5); recycling of PV modules at the end of life |  |  |  | recycling of PV modules at the end of life | 3 | 4 | 1 | 1 | 1 | 5 | 6 | 1.05 | 2.0477 | 2.0511 | (3,4,1,1,1,5) | 1.2 | 1 | 1 | 1 | 2 | 1
544-172 |  |  | 5 | - | transport, freight, lorry, fleet average | RER | - | - | 0 | tkm | 792.0824 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 854.9068 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 925.9236 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 999.9015 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 3180.3897 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 3406.2006 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 1966.5506 | 1 | 3.2045 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 1840.7416 | 1 | 3.2045 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 13765.4581 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 141744.3415 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 3908.9928 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 5016.8876 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 9032.6685 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 9046.6245 | 1 | 2.9863 | (4,5,na,na,na,na); 100km for transport of modules, substructure, electric installation and inverters to the place of installation |  |  | 34.3102 | 100km for transport of modules, substructure, electric installation and inverters to the place of installation | 4 | 5 | na | na | na | na | 5 | 2 | 1.5598 | 2.2784 | (4,5,na,na,na,na) | 1.5 | 1 | 1 | 1 | 1 | 1.2
490 | emission air |  | - | 4 | Heat, waste | - | air | high population density | - | MJ | 25.668 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 25.668 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 25.668 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 25.668 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 77.28 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 77.28 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 42.9898 | 1 | 1.0714 | (1,na,na,na,na,na); calculated with electricity use | 42.9898 | 1 | 1.0714 | (1,na,na,na,na,na); calculated with electricity use | 371.496 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 154.56 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 89.424 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 124.2 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 157.044 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use | 129.72 | 1 | 2.0585 | (1,na,na,na,na,na); calculated with electricity use |  |  | 0 | calculated with electricity use | 1 | na | na | na | na | na | 13 | 1.05 | 1 | 1.05 | (1,na,na,na,na,na) | 1 | 1 | 1 | 1 | 1 | 1
[11 empty] | Solarspar | [15 empty] | Edisun power |  |  |  | Edisun power |  |  |  | Edisun power |  |  |  | Edisun power |  |  |  | Ingenieurbüro Hostettler |  |  |  | Ökoinventare 1996 |  |  |  | Edisun power |  |  |  | Edisun power |  |  |  | Edisun power |  |  |  | Edisun power
Phalk 500
[5 empty] | Maximum power output |  |  |  |  | kWp | 93 |  |  |  | 93 |  |  |  | 93 |  |  |  | 93 |  |  |  | 280 |  |  |  | 280 |  |  |  | 156 |  |  |  | 156 |  |  |  | 1300 |  |  |  | 560 |  |  |  | 324 |  |  |  | 450 |  |  |  | 569 |  |  |  | 570
[5 empty] | Module efficiency |  |  |  |  | Wp/m2 | 195 |  |  |  | 180 |  |  |  | 195 |  |  |  | 180 |  |  |  | 195 |  |  |  | 180 |  |  |  | 180 |  |  |  | 195 |  |  |  | 180 |  |  |  | 195 |  |  |  | 180 |  |  |  | 195 |  |  |  | 180 |  |  |  | 180
[5 empty] | Total module area |  |  |  |  | m2 | 476.9231 |  |  |  | 516.6667 |  |  |  | 476.9231 |  |  |  | 516.6667 |  |  |  | 1435.8974 |  |  |  | 1555.5556 |  |  |  | 866.6667 |  |  |  | 800 |  |  |  | 7222.2222 |  |  |  | 2871.7949 |  |  |  | 1800 |  |  |  | 2307.6923 |  |  |  | 3161.1111 |  |  |  | 3166.6667
[11 empty] | mono-Si |  |  |  | mult-Si |  |  |  | mono-Si |  |  |  | mult-Si |  |  |  | mono-Si |  |  |  | mult-Si |  |  |  | mult-Si |  |  |  | mono-Si |  |  |  | mult-Si |  |  |  | mono-Si |  |  |  | mult-Si |  |  |  | mono-Si |  |  |  | mult-Si |  |  |  | mult-Si
Note on BH24: Matthias S: 375 l Diesel / MWp Kapazität Dichte von Diesel: 0.84 kg/l Umwandlung Building machine: 0.0234 kg Diesel / MJ
Note on BL24: Matthias S: 375 l Diesel / MWp Kapazität Dichte von Diesel: 0.84 kg/l Umwandlung Building machine: 0.0234 kg Diesel / MJ