## X-elec-CN
[5 empty] | IndexNumber | [5 empty] | 174-005-003
|  | ID | 3503 | 3504 | 3702 | 3703 | 3506 | 3507 | 3508 | 3706 | 3707 | 3708 | 3709 | 3792
Index |  | 401 | InputGroup | OutputGroup | Name | Location | Category | SubCategory | InfrastructureProcess | Unit | electricity, production mix photovoltaic, at plant | UncertaintyType | StandardDeviation95% | GeneralComment | Ertragstyp | Technologie | Maximal-leistung | Effizienz | Fläche | Remarks, Literature | Reliability | Completeness | Temporal Corr. | Geographical Corr. | Technological Corr. | Sample Size | Code | Basic SDG^2 | Pedigree | Total | Uncertainty Code Pedigree | Reliability | Completeness | Temporal Corr. | Geographical Corr. | Technological Corr. | Sample Size | Check Japan
|  | 662 |  |  | Location | [5 empty] | CN |  |  |  | CH | [5 empty] | nA: not applicable: CV=1 | [7 empty] | SDG^2 | SDG^2 | [7 empty] | Share in Total Capacity | Yield
|  | 493 |  |  | InfrastructureProcess | [5 empty] | 0
|  | 403 |  |  | Unit | [5 empty] | kWh |  |  |  | - | - | kWp | % | m2 | [18 empty] | % | kWh/kWp
174-005-003 |  |  | - | 0 | electricity, production mix photovoltaic, at plant | CN | - | - | 0 | kWh | 1 | [26 empty] | 100% | 1000.1087
1289 | resource, in air |  | 4 | - | Energy, solar, converted | - | resource | in air | - | MJ | 3.8503 | 1 | 1.0907 | (2,2,1,1,1,3); Energy loss in the system | [5 empty] | Energy loss in the system | 2 | 2 | 1 | 1 | 1 | 3 | 11 | 1.05 | 1.0744 | 1.0907 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05
542-11 |  |  | 5 | - | tap water, water balance according to MoeK 2013, at user | CN | - | - | 0 | kg | 0.0035833 | 1 | 1.0907 | (2,2,1,1,1,3); Estimation 20l/m2 panel | [5 empty] | Estimation 20l/m2 panel | 2 | 2 | 1 | 1 | 1 | 3 | 3 | 1.05 | 1.0744 | 1.0907 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05
1750 |  |  | 5 | - | treatment, sewage, from residence, to wastewater treatment, class 2 | CH | - | - | 0 | m3 | 3.2249e-06 | 1 | 1.0907 | (2,2,1,1,1,3); Estimation 20l/m2 panel | [5 empty] | Estimation 20l/m2 panel | 2 | 2 | 1 | 1 | 1 | 3 | 6 | 1.05 | 1.0744 | 1.0907 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05
174-024 |  |  | 5 | - | 93 kWp slanted-roof installation, single-Si, laminated, integrated, on roof | CH | - | - | 1 | unit | 7.4057e-10 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | single-Si | 93 | 0.195 | 476.9231 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.2005% | 970.5876
174-024a |  |  | 5 | - | 93 kWp slanted-roof installation, multi-Si, laminated, integrated, on roof | CH | - | - | 1 | unit | 1.3984e-09 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | multi-Si | 93 | 0.18 | 516.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.3787% | 970.5876
174-024b |  |  | 5 | - | 93 kWp slanted-roof installation, single-Si, panel, mounted, on roof | CH | - | - | 1 | unit | 1.2343e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | single-Si | 93 | 0.195 | 476.9231 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 3.342% | 970.5876
174-024c |  |  | 5 | - | 93 kWp slanted-roof installation, multi-Si, panel, mounted, on roof | CH | - | - | 1 | unit | 2.3306e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | multi-Si | 93 | 0.18 | 516.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 6.311% | 970.5876
174-025 |  |  | 5 | - | 156 kWp flat-roof installation, multi-Si, on roof | CH | - | - | 1 | unit | 1.2504e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | multi-Si | 156 | 0.18 | 866.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 5.68% | 970.5876
174-025a |  |  | 5 | - | 156 kWp flat-roof installation, single-Si, on roof | CH | - | - | 1 | unit | 6.6224e-09 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | single-Si | 156 | 0.195 | 800 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 3.008% | 970.5876
174-001-030s |  |  | 5 | - | 570 kWp open ground installation, single-Si, on open ground | RER | - | - | 1 | unit | 1.3698e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield centralized | single-Si | 570 | 0.195 | 2923.0769 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 24.1% | 1029.0816
174-001-033 |  |  | 5 | - | 570 kWp open ground installation, multi-Si, on open ground | RER | - | - | 1 | unit | 2.5864e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield centralized | multi-Si | 570 | 0.18 | 3166.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 45.51% | 1029.0816
174-001-009 |  |  | 5 | - | 570 kWp open ground installation, CdTe, on open ground | RER | - | - | 1 | unit | 4.1267e-10 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield centralized | CdTe | 570 | 0.18 | 3166.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.7262%
174-001-019 |  |  | 5 | - | 570 kWp open ground installation, CIS, on open ground | RER | - | - | 1 | unit | 3.409e-10 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield centralized | CIS | 570 | 0.16 | 3562.5 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.5999% | 1029.0816
174-001-042 |  |  | 5 | - | 570 kWp open ground installation, micro-Si, on open ground | RER | - | - | 1 | unit | 5.3826e-11 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield centralized | micro-Si | 570 | 0.1 | 5700 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.09472% | 1029.0816
174-352 |  |  | 5 | - | 3kWp facade installation, single-Si, laminated, integrated, at building | CN | - | - | 1 | unit | 1.6398e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield facade | single-Si | 3 | 0.195 | 15.3846 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.1003% | 679.4113
174-353 |  |  | 5 | - | 3kWp facade installation, single-Si, panel, mounted, at building | CN | - | - | 1 | unit | 1.6398e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield facade | single-Si | 3 | 0.195 | 15.3846 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.1003% | 679.4113
174-372 |  |  | 5 | - | 3kWp facade installation, multi-Si, laminated, integrated, at building | CN | - | - | 1 | unit | 3.0964e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield facade | multi-Si | 3 | 0.18 | 16.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.1893% | 679.4113
174-373 |  |  | 5 | - | 3kWp facade installation, multi-Si, panel, mounted, at building | CN | - | - | 1 | unit | 3.0964e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield facade | multi-Si | 3 | 0.18 | 16.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.1893% | 679.4113
174-354 |  |  | 5 | - | 3kWp flat roof installation, single-Si, on roof | CN | - | - | 1 | unit | 1.7218e-07 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | single-Si | 3 | 0.195 | 15.3846 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 1.504% | 970.5876
174-374 |  |  | 5 | - | 3kWp flat roof installation, multi-Si, on roof | CN | - | - | 1 | unit | 3.2512e-07 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | multi-Si | 3 | 0.18 | 16.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 2.84% | 970.5876
174-355 |  |  | 5 | - | 3kWp slanted-roof installation, single-Si, laminated, integrated, on roof | CN | - | - | 1 | unit | 1.0179e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | single-Si | 3 | 0.195 | 15.3846 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.08892% | 970.5876
174-356 |  |  | 5 | - | 3kWp slanted-roof installation, single-Si, panel, mounted, on roof | CN | - | - | 1 | unit | 1.6966e-07 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | single-Si | 3 | 0.195 | 15.3846 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 1.482% | 970.5876
174-375 |  |  | 5 | - | 3kWp slanted-roof installation, multi-Si, laminated, integrated, on roof | CN | - | - | 1 | unit | 1.9221e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | multi-Si | 3 | 0.18 | 16.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.1679% | 970.5876
174-376 |  |  | 5 | - | 3kWp slanted-roof installation, multi-Si, panel, mounted, on roof | CN | - | - | 1 | unit | 3.2035e-07 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | multi-Si | 3 | 0.18 | 16.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 2.798% | 970.5876
32076 |  |  | 5 | - | 3kWp slanted-roof installation, CdTe, laminated, integrated, on roof | CH | - | - | 1 | unit | 1.9183e-09 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | CdTe | 3 | 0.18 | 16.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.01676%
174-151 |  |  | 5 | - | 3kWp slanted-roof installation, CdTe, panel, mounted, on roof | CH | - | - | 1 | unit | 3.1972e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | CdTe | 3 | 0.18 | 16.6667 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.2793%
32080 |  |  | 5 | - | 3kWp slanted-roof installation, CIS, panel, mounted, on roof | CH | - | - | 1 | unit | 2.6411e-08 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | CIS | 3 | 0.16 | 18.75 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.2307% | 970.5876
174-001-017b |  |  | 5 | - | 3kWp slanted-roof installation, CIS, laminated, integrated, on roof | CH | - | - | 1 | unit | 1.5847e-09 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | CIS | 3 | 0.16 | 18.75 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.01384% | 970.5876
174-001-040 |  |  | 5 | - | 3kWp slanted-roof installation, micro-Si, laminated, integrated, on roof | RER | - | - | 1 | unit | 2.5021e-10 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | micro-Si | 3 | 0.1 | 30 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.002186% | 970.5876
174-001-041 |  |  | 5 | - | 3kWp slanted-roof installation, micro-Si, panel, mounted, on roof | RER | - | - | 1 | unit | 4.1702e-09 | 1 | 1.2165 | (2,2,1,1,1,3); Calculation with average annual yield and share of technologies. Lifetime: 30a. | yield rooftop | micro-Si | 3 | 0.1 | 30 | Calculation with average annual yield and share of technologies. Lifetime: 30a. | 2 | 2 | 1 | 1 | 1 | 3 | 9 | 1.2 | 1.0744 | 1.2165 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05 | 0.03643% | 970.5876
491 | emission air |  | - | 4 | Heat, waste | - | air | unspecified | - | MJ | 0.25027 | 1 | 1.05 | (1,na,na,na,na,na); Calculation | [5 empty] | Calculation | 1 | na | na | na | na | na | 13 | 1.05 | 1 | 1.05 | (1,na,na,na,na,na) | 1 | 1 | 1 | 1 | 1 | 1
GB 408-02 |  |  | - | 4 | Water, CN | - | air | unspecified | - | kg | 0.00035833 | 1 | 1.0907 | (2,2,1,1,1,3); Assumption: 10% of water used is evaporated | [5 empty] | Assumption: 10% of water used is evaporated | 2 | 2 | 1 | 1 | 1 | 3 | 13 | 1.05 | 1.0744 | 1.0907 | (2,2,1,1,1,3) | 1.05 | 1.02 | 1 | 1 | 1 | 1.05
1.275e-06
1