## X-inverter
[5 empty] | IndexNumber | [5 empty] | 174-003-001 |  |  |  | 174-003-002 |  |  |  | 174-003-004 |  |  |  | 174-003-003
|  | ID | 3503 | 3504 | 3702 | 3703 | 3506 | 3507 | 3508 | 3706 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792 | 3707 | 3708 | 3709 | 3792
Index |  | 401 | InputGroup | OutputGroup | Name | Location | Category | SubCategory | InfrastructureProcess | Unit | inverter, 2.5 kW, average, at plant | UncertaintyType | StandardDeviation95% | GeneralComment | inverter, 5 kW, average, at plant | UncertaintyType | StandardDeviation95% | GeneralComment | inverter, 10 kW, average, at plant | UncertaintyType | StandardDeviation95% | GeneralComment | inverter, 20 kW, average, at plant | UncertaintyType | StandardDeviation95% | GeneralComment | Remarks | Literature | Reliability | Completeness | Temporal Corr. | Geographical Corr. | Technological Corr. | Sample Size | Code | Basic SDG^2 | Pedigree | Total | Uncertainty Code Pedigree | Reliability | Completeness | Temporal Corr. | Geographical Corr. | Technological Corr. | Sample Size
|  | 662 |  |  | Location | [5 empty] | RER |  |  |  | RER |  |  |  | RER |  |  |  | RER | [5 empty] | nA: not applicable: CV=1 | [7 empty] | SDG^2 | SDG^2
|  | 493 |  |  | InfrastructureProcess | [5 empty] | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
|  | 403 |  |  | Unit | [5 empty] | unit |  |  |  | unit |  |  |  | unit |  |  |  | unit
174-003-001 | product |  | - | 0 | inverter, 2.5 kW, average, at plant | RER | - | - | 1 | unit | 1 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
174-003-002 |  |  | - | 0 | inverter, 5 kW, average, at plant | RER | - | - | 1 | unit | 0 |  |  |  | 1 |  |  |  | 0 |  |  |  | 0
174-003-004 |  |  | - | 0 | inverter, 10 kW, average, at plant | RER | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 1 |  |  |  | 0
174-003-003 |  |  | - | 0 | inverter, 20 kW, average, at plant | RER | - | - | 1 | unit | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1
401-101-007 | energy use |  | 5 | - | electricity, medium voltage, production ENTSO, at grid | ENTSO | - | - | 0 | kWh | 10.5527 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 16.9069 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 27.0872 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 43.3975 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | Data from two European inverter manufacturers |  | 2 | 3 | 1 | 3 | 3 | 5 | 2 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
1501 |  |  | 5 | - | light fuel oil, burned in industrial furnace 1MW, non-modulating | CH | - | - | 0 | MJ | 0.22561 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 0.36145 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 0.5791 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 0.9278 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | Data from two European inverter manufacturers |  | 3 | 4 | 1 | 3 | 3 | 5 | 1 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
5380 |  |  | 5 | - | natural gas, burned in power plant | DE | - | - | 0 | MJ | 3.5728 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 5.7241 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 9.1708 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 14.6929 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | Data from two European inverter manufacturers |  | 3 | 4 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
2707 |  |  | 5 | - | heat, natural gas, at industrial furnace >100kW | RER | - | - | 0 | MJ | 9.2062 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 14.7497 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 23.631 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | 37.8602 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from two European inverter manufacturers; | Data from two European inverter manufacturers |  | 3 | 4 | 1 | 3 | 3 | 5 | 1 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
4806 | individual components |  | 5 | - | aluminium, production mix, cast alloy, at plant | RER | - | - | 0 | kg | 4.7656 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 7.6351 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 12.2325 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 19.5982 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
67 |  |  | 5 | - | aluminium alloy, AlMg3, at plant | RER | - | - | 0 | kg | 0.21159 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.339 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.54313 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.87017 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 3 | 4 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
992 |  |  | 5 | - | copper, at regional storage | RER | - | - | 0 | kg | 1.9106 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 3.0611 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 4.9043 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 7.8574 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
1132 |  |  | 5 | - | steel, low-alloyed, at plant | RER | - | - | 0 | kg | 0.90683 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; data on the production of three inverters by two European producers | 1.4529 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; data on the production of three inverters by two European producers | 2.3277 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; data on the production of three inverters by two European producers | 3.7293 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; data on the production of three inverters by two European producers | Data from three European inverter manufacturers ; recycled after use | data on the production of three inverters by two European producers | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
1265 |  |  | 5 | - | polypropylene, granulate, at plant | RER | - | - | 0 | kg | 0.88243 | 1 | 1.596 | (3,4,1,3,4,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 1.4138 | 1 | 1.596 | (3,4,1,3,4,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 2.2651 | 1 | 1.596 | (3,4,1,3,4,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 3.6289 | 1 | 1.596 | (3,4,1,3,4,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 3 | 4 | 1 | 3 | 4 | 5 | 3 | 1.05 | 1.592 | 1.596 | (3,4,1,3,4,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.5 | 1.2
1257 |  |  | 5 | - | polycarbonate, at plant | RER | - | - | 0 | kg | 0.2023 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.32411 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.51927 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.83195 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 3 | 4 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
30052 |  |  | 5 | - | cable, connector for computer, without plugs, at plant | GLO | - | - | 0 | m | 0.13121 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.21022 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.33681 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.53961 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 3 | 4 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
30126 |  |  | 5 | - | inductor, ring core choke type, at plant | GLO | - | - | 0 | kg | 0.87101 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 1.3955 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 2.2358 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 3.582 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30038 |  |  | 5 | - | integrated circuit, IC, logic type, at plant | GLO | - | - | 0 | kg | 0.066099 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.1059 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.16967 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.27183 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30151 |  |  | 5 | - | ferrite, at plant | GLO | - | - | 0 | kg | 0.034905 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.055922 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.089595 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.14354 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30055 |  |  | 5 | - | plugs, inlet and outlet, for network cable, at plant | GLO | - | - | 0 | unit | 3.4797 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 5.575 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 8.932 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 14.3103 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
3822 |  |  | 5 | - | glass fibre reinforced plastic, polyamide, injection moulding, at plant | RER | - | - | 0 | kg | 0.13052 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.20911 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.33502 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.53675 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30300 | printed board assembly |  | 5 | - | printed wiring board, surface mount, lead-free surface, at plant | GLO | - | - | 0 | m2 | 0.10118 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.1621 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.25971 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.41609 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
2796 |  |  | 5 | - | tin, at regional storage | RER | - | - | 0 | kg | 0.0095927 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.015369 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.024623 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.039449 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30143 |  |  | 5 | - | connector, clamp connection, at plant | GLO | - | - | 0 | kg | 0.024397 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.039088 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.062624 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.10033 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30126 |  |  | 5 | - | inductor, ring core choke type, at plant | GLO | - | - | 0 | kg | 0.13069 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.20939 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.33547 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.53747 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30180 |  |  | 5 | - | inductor, miniature RF chip type, MRFI, at plant | GLO | - | - | 0 | kg | 0.0011017 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0017651 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0028279 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0045308 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30038 |  |  | 5 | - | integrated circuit, IC, logic type, at plant | GLO | - | - | 0 | kg | 0.15539 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.24895 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.39886 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.63902 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30037 |  |  | 5 | - | integrated circuit, IC, memory type, at plant | GLO | - | - | 0 | kg | 0.0018724 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0029998 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0048061 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0077 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30140 |  |  | 5 | - | transistor, unspecified, at plant | GLO | - | - | 0 | kg | 0.019185 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.030738 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.049246 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.078899 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30138 |  |  | 5 | - | transistor, SMD type, surface mounting, at plant | GLO | - | - | 0 | kg | 0.041735 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.066865 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.10713 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.17163 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30135 |  |  | 5 | - | diode, glass-, SMD type, surface mounting, at plant | GLO | - | - | 0 | kg | 0.0020072 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0032158 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0051521 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0082545 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30137 |  |  | 5 | - | light emitting diode, LED, at plant | GLO | - | - | 0 | kg | 1.4389e-05 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 2.3053e-05 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 3.6934e-05 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 5.9174e-05 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30031 |  |  | 5 | - | capacitor, film, through-hole mounting, at plant | GLO | - | - | 0 | kg | 0.16635 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.26652 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.42699 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.68411 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30034 |  |  | 5 | - | capacitor, electrolyte type, > 2cm height, at plant | GLO | - | - | 0 | kg | 0.25708 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.41188 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.65989 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 1.0572 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30033 |  |  | 5 | - | capacitor, electrolyte type, < 2cm height, at plant | GLO | - | - | 0 | kg | 0.0067149 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.010758 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.017236 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.027615 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30032 |  |  | 5 | - | capacitor, SMD type, surface-mounting, at plant | GLO | - | - | 0 | kg | 0.0013342 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0021375 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0034246 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0054868 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30171 |  |  | 5 | - | resistor, wirewound, through-hole mounting, at plant | GLO | - | - | 0 | kg | 0.0011191 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.001793 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0028727 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0046024 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30128 |  |  | 5 | - | resistor, SMD type, surface mounting, at plant | GLO | - | - | 0 | kg | 0.0045732 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.0073269 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.011739 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.018807 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30151 |  |  | 5 | - | ferrite, at plant | GLO | - | - | 0 | kg | 2.55e-05 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 4.0855e-05 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 6.5456e-05 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.00010487 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30132 |  |  | 5 | - | transformer, low voltage use, at plant | GLO | - | - | 0 | kg | 0.040129 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.064293 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.10301 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.16503 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30055 |  |  | 5 | - | plugs, inlet and outlet, for network cable, at plant | GLO | - | - | 0 | unit | 0.27886 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.44677 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.71578 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 1.1468 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
3822 |  |  | 5 | - | glass fibre reinforced plastic, polyamide, injection moulding, at plant | RER | - | - | 0 | kg | 0.02558 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.040983 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.065661 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.1052 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
30203 |  |  | 5 | - | cable, ribbon cable, 20-pin, with plugs, at plant | GLO | - | - | 0 | kg | 0.00023982 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.00038422 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.00061557 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 0.00098624 | 1 | 1.3127 | (2,3,1,3,3,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3069 | 1.3127 | (2,3,1,3,3,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.02 | 1.2 | 1.2
1121 | processing |  | 5 | - | sheet rolling, steel | RER | - | - | 0 | kg | 0.90683 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | 1.4529 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | 2.3277 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | 3.7293 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | Data from three European inverter manufacturers ; recycled after use | Applied as well on the production data of an inverter of an European producer | 1 | 1 | 1 | 1 | 1 | 5 | 3 | 1.05 | 1.2 | 1.2077 | (1,1,1,1,1,5,BU:1.05) | 1 | 1 | 1 | 1 | 1 | 1.2
1153 |  |  | 5 | - | wire drawing, copper | RER | - | - | 0 | kg | 1.9106 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | 3.0611 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | 4.9043 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | 7.8574 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | Data from three European inverter manufacturers ; recycled after use | Applied as well on the production data of an inverter of an European producer | 1 | 1 | 1 | 1 | 1 | 5 | 3 | 1.05 | 1.2 | 1.2077 | (1,1,1,1,1,5,BU:1.05) | 1 | 1 | 1 | 1 | 1 | 1.2
1092 |  |  | 5 | - | section bar extrusion, aluminium | RER | - | - | 0 | kg | 4.7656 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | 7.6351 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | 12.2325 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | 19.5982 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; Applied as well on the production data of an inverter of an European producer | Data from three European inverter manufacturers ; recycled after use | Applied as well on the production data of an inverter of an European producer | 1 | 1 | 1 | 1 | 1 | 5 | 3 | 1.05 | 1.2 | 1.2077 | (1,1,1,1,1,5,BU:1.05) | 1 | 1 | 1 | 1 | 1 | 1.2
32595 |  |  | 5 | - | steel product manufacturing, average metal working | RER | - | - | 0 | kg | 0.019206 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.030771 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.049299 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.078984 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | data on the production of an inverter by a European producer |  | 3 | 4 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
32503 | infrastructure |  | 5 | - | metal working factory | RER | - | - | 1 | unit | 1.0977e-08 | 1 | 3.0454 | (1,1,1,1,1,5,BU:3); Calculation, based on annual production of electronic component production plant; taken from the ecoinvent v2.2 inverter dataset; | 1.7586e-08 | 1 | 3.0454 | (1,1,1,1,1,5,BU:3); Calculation, based on annual production of electronic component production plant; taken from the ecoinvent v2.2 inverter dataset; | 2.8175e-08 | 1 | 3.0454 | (1,1,1,1,1,5,BU:3); Calculation, based on annual production of electronic component production plant; taken from the ecoinvent v2.2 inverter dataset; | 4.514e-08 | 1 | 3.0454 | (1,1,1,1,1,5,BU:3); Calculation, based on annual production of electronic component production plant; taken from the ecoinvent v2.2 inverter dataset; | Calculation, based on annual production of electronic component production plant; taken from the ecoinvent v2.2 inverter dataset |  | 1 | 1 | 1 | 1 | 1 | 5 | 9 | 3 | 1.2 | 3.0454 | (1,1,1,1,1,5,BU:3) | 1 | 1 | 1 | 1 | 1 | 1.2
1198 | packaging |  | 5 | - | corrugated board, mixed fibre, single wall, at plant | RER | - | - | 0 | kg | 0.66 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); data on the production of an inverter by a European producer; | 1.0574 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); data on the production of an inverter by a European producer; | 1.6941 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); data on the production of an inverter by a European producer; | 2.7142 | 1 | 1.2077 | (1,1,1,1,1,5,BU:1.05); data on the production of an inverter by a European producer; | data on the production of an inverter by a European producer |  | 1 | 1 | 1 | 1 | 1 | 5 | 3 | 1.05 | 1.2 | 1.2077 | (1,1,1,1,1,5,BU:1.05) | 1 | 1 | 1 | 1 | 1 | 1.2
1196 |  |  | 5 | - | folding boxboard, FBB, at plant | RER | - | - | 0 | kg | 1.156 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 1.8521 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 2.9673 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 4.754 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | data on the production of an inverter by a European producer |  | 3 | 4 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
3200 |  |  | 5 | - | packaging film, LDPE, at plant | RER | - | - | 0 | kg | 0.0115 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.018425 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.029519 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.047293 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | data on the production of an inverter by a European producer |  | 3 | 4 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
544-172 | transport |  | 5 | - | transport, freight, lorry, fleet average | RER | - | - | 0 | tkm | 0.67623 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Standard distance 60km incl. disposal; | 1.0834 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Standard distance 60km incl. disposal; | 1.7358 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Standard distance 60km incl. disposal; | 2.781 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Standard distance 60km incl. disposal; | Standard distance 60km incl. disposal |  | 4 | 5 | na | na | na | na | 5 | 2 | 1.2941 | 2.095 | (4,5,na,na,na,na,BU:2) | 1.2 | 1.2 | 1 | 1 | 1 | 1
1841 |  |  | 5 | - | transport, freight, rail | RER | - | - | 0 | tkm | 2.2541 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Standard distances 200km; | 3.6114 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Standard distances 200km; | 5.7859 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Standard distances 200km; | 9.2699 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Standard distances 200km; | Standard distances 200km |  | 4 | 5 | na | na | na | na | 5 | 2 | 1.2941 | 2.095 | (4,5,na,na,na,na,BU:2) | 1.2 | 1.2 | 1 | 1 | 1 | 1
1824 |  |  | 5 | - | transport, transoceanic freight ship | OCE | - | - | 0 | tkm | 20.2869 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Estimation: 18000km; | 32.5024 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Estimation: 18000km; | 52.0735 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Estimation: 18000km; | 83.429 | 1 | 2.095 | (4,5,na,na,na,na,BU:2); Estimation: 18000km; | Estimation: 18000km |  | 4 | 5 | na | na | na | na | 5 | 2 | 1.2941 | 2.095 | (4,5,na,na,na,na,BU:2) | 1.2 | 1.2 | 1 | 1 | 1 | 1
491 | emission air, unspecified |  | - | 4 | Heat, waste | - | air | unspecified | - | MJ | 37.9898 | 1 | 1.2226 | (2,3,1,1,1,5,BU:1.05); Calculation; | 60.8649 | 1 | 1.2226 | (2,3,1,1,1,5,BU:1.05); Calculation; | 97.5141 | 1 | 1.2226 | (2,3,1,1,1,5,BU:1.05); Calculation; | 156.2312 | 1 | 1.2226 | (2,3,1,1,1,5,BU:1.05); Calculation; | Calculation |  | 2 | 3 | 1 | 1 | 1 | 5 | 13 | 1.05 | 1.2152 | 1.2226 | (2,3,1,1,1,5,BU:1.05) | 1.05 | 1.05 | 1 | 1 | 1 | 1.2
679 | technosphere |  | 5 | - | tap water, at user | RER | - | - | 0 | kg | 19.8757 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 31.8436 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 51.018 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 81.7379 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | data on the production of an inverter by a European producer |  | 3 | 4 | 1 | 3 | 3 | 5 | 3 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
257-07 | resource, in water |  | 4 | - | Water, unspecified natural origin, DE | - | resource | in water | - | m3 | 0.037815 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.060584 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.097065 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.15551 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | data on the production of an inverter by a European producer |  | 3 | 4 | 1 | 3 | 3 | 5 | 12 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
1390 | disposal |  | 5 | - | treatment, sewage, unpolluted, to wastewater treatment, class 3 | CH | - | - | 0 | m3 | 0.019876 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.031844 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.051018 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.081738 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | data on the production of an inverter by a European producer |  | 3 | 4 | 1 | 3 | 3 | 5 | 6 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
1392 |  |  | 5 | - | disposal, packaging cardboard, 19.6% water, to municipal incineration | CH | - | - | 0 | kg | 1.816 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); disposal of the packaging materials; | 2.9095 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); disposal of the packaging materials; | 4.6614 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); disposal of the packaging materials; | 7.4682 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); disposal of the packaging materials; | disposal of the packaging materials |  | 2 | 3 | 1 | 5 | 1 | 5 | 6 | 1.05 | 1.2423 | 1.2491 | (2,3,1,5,1,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.1 | 1 | 1.2
1401 |  |  | 5 | - | disposal, polyethylene, 0.4% water, to municipal incineration | CH | - | - | 0 | kg | 0.0115 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); disposal of the packaging materials; | 0.018425 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); disposal of the packaging materials; | 0.029519 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); disposal of the packaging materials; | 0.047293 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); disposal of the packaging materials; | disposal of the packaging materials |  | 2 | 3 | 1 | 5 | 1 | 5 | 6 | 1.05 | 1.2423 | 1.2491 | (2,3,1,5,1,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.1 | 1 | 1.2
30156 |  |  | 5 | - | disposal, treatment of printed wiring boards | GLO | - | - | 0 | kg | 1.2214 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 1.9568 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 3.1351 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | 5.0228 | 1 | 1.2491 | (2,3,1,5,1,5,BU:1.05); Data from three European inverter manufacturers ; recycled after use; | Data from three European inverter manufacturers ; recycled after use |  | 2 | 3 | 1 | 5 | 1 | 5 | 3 | 1.05 | 1.2423 | 1.2491 | (2,3,1,5,1,5,BU:1.05) | 1.05 | 1.05 | 1 | 1.1 | 1 | 1.2
1436 |  |  | 5 | - | disposal, municipal solid waste, 22.9% water, to municipal incineration | CH | - | - | 0 | kg | 0.24265 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.38877 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.62286 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.99791 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | data on the production of an inverter by a European producer |  | 3 | 4 | 1 | 3 | 3 | 5 | 6 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
1439 |  |  | 5 | - | disposal, hazardous waste, 25% water, to hazardous waste incineration | CH | - | - | 0 | kg | 0.012847 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.020583 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.032977 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | 0.052833 | 1 | 1.344 | (3,4,1,3,3,5,BU:1.05); data on the production of an inverter by a European producer; | data on the production of an inverter by a European producer |  | 3 | 4 | 1 | 3 | 3 | 5 | 6 | 1.05 | 1.3386 | 1.344 | (3,4,1,3,3,5,BU:1.05) | 1.1 | 1.1 | 1 | 1.02 | 1.2 | 1.2
[5 empty] | Bestückung der Leiterplatte ohne Leiterplatte (kg) | [5 empty] | 0.89153 |  |  |  | 1.4284 |  |  |  | 2.2884 |  |  |  | 3.6664
[5 empty] | Leiterplatte surface mount (kg) | [5 empty] | 0.32984 |  |  |  | 0.52845 |  |  |  | 0.84665 |  |  |  | 1.3565
[5 empty] | Leiterplatte bestückt (kg) | [5 empty] | 1.2214 |  |  |  | 1.9568 |  |  |  | 3.1351 |  |  |  | 5.0228
[5 empty] | Gewicht Inverter (kg) | [5 empty] | 11.2417 |  |  |  | 18.0108 |  |  |  | 28.8559 |  |  |  | 46.2312
[5 empty] | Single compounds ohne Metalle (kg) | [5 empty] | 2.2257 |  |  |  | 3.5659 |  |  |  | 5.7131 |  |  |  | 9.1532
[5 empty] | Wert gemäss Potenzformel | [5 empty] | 3.5242 |  |  |  | 5.6463 |  |  |  | 9.0461 |  |  |  | 14.4931
[5 empty] | Skalierungsfaktor | [5 empty] | 0.38958 |  |  |  | 0.62417 | [7 empty] | 1.6021
[5 empty] | a | [13 empty] | 1.89
[5 empty] | b | [13 empty] | 0.68